REGULATORY MONITORING

| Function: | Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- | --- |
| Department: | Quality Assurance | Systems and cybersecurity | Quality Assurance |
| Name: | Ivan Perez | David Pozo | Fernando Pozo |
| Signature: |  |  |  |
| Date: |  |  |  |

| Valid until: | 07/15/2028 |
| --- | --- |

| DOCUMENT HISTORY |  |  |  |
| --- | --- | --- | --- |
| VERSION | CAUSES OF MODIFICATION | EFFECTIVE DATE | REPLACES (Code, Revision) |
| 01 | Initial edition | 07/14/2025 | N/A |
| 02 | Add review periods and reviewer | 07/15/2025 | Pnt-030.01 |

Content

1. 	Objective 	4

2. 	Scope 	4

2.1. 	Responsibilities and Departments Affected 	4

3. 	Definitions and Acronyms 	5

4. 	Procedure 	5

4.1. 	Identification of regulatory changes 	5

4.2. 	Evaluation of relevance and impact 	5

4.3. 	Planning and implementation 	6

4.4. 	Verification and closure 	6

5. 	Distribution of Procedure 	6

6. 	Annexes 	7

7. 	Related documentation 	7

8. 	Formation 	7

Aim

Ensure that SPIKA systematically evaluates and implements changes in standards, laws, and regulatory requirements applicable to its products, ensuring continued compliance with:

- Regulation (EU) 2017/745 (MDR).

- ISO 13485:2016.

- Other applicable regulations (FDA, national, etc.).

Scope

It applies to all of the organization's procedures related to the implemented quality management system.

Responsibilities and Departments Affected

The affected departments are:

| Department | Apply |  |
| --- | --- | --- |
|  | Yeah | No |
| Address | ☒ | ☐ |
| Environment | ☐ | ☒ |
| Quality Assurance | ☒ | ☐ |
| Systems and Cybersecurity | ☒ | ☐ |
| Research and Development | ☐ | ☒ |
| Marketing and Sales | ☐ | ☒ |
| Management | ☐ | ☒ |

Definitions and Acronyms

- Regulatory change : Modification in applicable laws, regulations, standards or guidelines .

- Impact assessment : Process to determine whether a regulatory change affects the organization's product, documentation or processes

- AEMPS : Spanish Agency for Medicines and Health Products .

- BOE : Official State Gazette

- OJEU : Official Journal of the European Union

- MDR: Medical Device Regulation

- NB : Notified Body

Procedure

Identification of regulatory changes

To identify regulatory changes, active monitoring is carried out through periodic review every 6 months of official sources. This identification and review of regulatory changes will be carried out by the quality manager or the person delegated by him/her:

- Official Journal of the EU (quarterly)

- AEMPS website (quarterly)

- Publications of notified bodies (quarterly)

- ISO Standards Updates (Quarterly)

Assessment of relevance and impact

When a potential change is identified, the following actions are taken:

- The detected change is recorded in the online regulatory change detection form.

- The team responsible for the quality management system and regulatory documents performs a preliminary analysis to determine:

  - If it affects products (by type, class or market)

  - The degree of impact (high, medium or low)

  - The deadlines for implementing the change

Planning and implementation

For changes that require action, a specific action plan is made that includes:

- Documents to be updated (ETM, procedures, etc.).

- Necessary process modifications.

- Staff training needs.

- Realistic implementation deadlines.

Verification and closure

Once all the changes have been implemented to comply with the regulatory changes, the effectiveness of the change is verified by:

- Internal audits

- Review of document samples

- Surveys of trained personnel

Distribution of the Procedure

Staff members in the departments listed in Section 3 (Responsibilities and Affected Departments) must be provided with a copy of this procedure. In addition, controlled copy No. 1 will be submitted to the Archives for paper archiving.

Controlled copies to be issued:

| Controlled Copy No. | Departments |
| --- | --- |
| 1 | Archive |

Annexes

| NO. / REV. | QUALIFICATION |
| --- | --- |
| N/A | N/A |

Related documentation

| Code | QUALIFICATION |
| --- | --- |
| N/A | N/A |

Training

This version requires that the affected departments indicated in section 3 receive the following training:

| Mark with an X | Type of training |
| --- | --- |
| ☒ | Theoretical (reading and understanding of the procedure) |
| ☐ | Theoretical – Practical (If you select this option, contact the Responsible Technician) |