Annex 2_VERSION_05

- CAPA Report

| LAYER REPORT | CODE |
| --- | --- |
|  | AC-001/25 |

| Person opening the action: | Iván Pérez |  |  |  |  |  |  | Department |  |  |  | Quality Assurance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Detection date | 15/07/2025 |  |  |  |  |  |  | Origin |  | Notified Body Audit |  |  |
| Description of the finding | The internal audit report lacks adequate process coverage and objective evidence: - Only one person (Quality Director) was audited, limiting verification of QMS implementation across functions. Furthermore, key processes were not audited, including supplier control, complaint handling, software validation, and internal audits. - The report does not provide adequate objective evidence (e.g., sampled records, checklists) to support conformity claims. - The report and the agenda do not have identification as part of the QMS system |  |  |  |  |  |  |  |  |  |  |  |
| Root cause analysis | The internal audit was carried out by only one person, which limited the coverage and objectivity of the process. Furthermore, due to partial planning, some relevant processes were not included. The absence of objective evidence and the lack of formal identification in the documentation are due to insufficient application of the current audit procedure and the use of outdated templates. |  |  |  |  |  |  |  |  |  |  |  |
| Immediate correction | Record the non-conformity in the quality system and provide traceability of the follow-up. |  |  |  |  |  |  |  |  |  |  |  |
| Corrective/preventive action | Review and update the internal audit procedure to: • Include minimum criteria for process coverage and evidence sampling, requiring all departments affected by the QMS to be audited. • Highlight the need to use controlled templates with identification in accordance with the document management system. • Ensure that future internal audits adequately plan the scope and provide for the review of key processes. |  |  |  |  |  |  |  |  |  |  |  |
| Verification of the impact of the action on the product |  |  |  |  |  |  | Yes (if you check this box, explain below) |  |  |  | No |  |
|  | Is there an impact on regulatory requirements? |  |  |  |  |  | ☐ |  |  |  | ☒ |  |
|  | Is there an impact on safety and operation? |  |  |  |  |  | ☐ |  |  |  | ☒ |  |
|  | Impact assessment: |  |  |  |  |  | N/A |  |  |  |  |  |
| Responsible for the action | Iván Pérez |  |  |  |  |  |  |  | Department |  |  | Quality Assurance |
| Deadline | 31/10/2025 |  |  |  |  |  |  |  |  |  |  |  |
| To be completed by the person who opens | Signature and date |  |  |  |  |  |  |  |  |  |  |  |
| To be completed by the quality manager: | Signature and date Date: |  |  |  |  |  |  |  |  |  |  |  |
| Evaluation of the effectiveness of the change – To be completed when the change is made |  |  |  |  |  |  |  |  |  |  |  |  |
| Has the change been implemented successfully? |  | ☐ |  | Yes |  |  |  |  |  |  |  |  |
|  |  | ☐ |  | No | Observations |  |  |  |  |  |  |  |
| Effectiveness of change – To be completed when the change is made |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing carried out by: |  |  |  |  |  | Date |  |  |  |  |  |  |