SIGNATURE REGISTER

| Function: | Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- | --- |
| Department: | Quality Assurance | Systems and cybersecurity | Quality Assurance |
| Name: | Ivan Perez | David Pozo | Fernando Pozo |
| Signature: |  |  |  |
| Date: |  |  |  |

| Valid until: | 02/06/2028 |
| --- | --- |

| DOCUMENT HISTORY |  |  |  |
| --- | --- | --- | --- |
| VERSION | CAUSES OF MODIFICATION | EFFECTIVE DATE | REPLACES (Code, Revision) |
| 01 | Initial edition | 07/02/2024 | N/A |
| 02 | Change in Spika departments, digitization of the procedure for using digital signatures | 02/06/2025 | PNT-017.01 |

Content

1. 	Objective 	4

2. 	Scope 	4

2.1. 	Responsibilities and Departments Affected 	4

3. 	Definitions and Acronyms 	4

4. 	Procedure 	5

4.1. 	Use of the digital signature 	5

5. 	Distribution of Procedure 	5

6. 	Annexes 	6

7. 	Related documentation 	6

8. 	Formation 	6

Aim

Establish the use of electronic signatures linked to user accounts in SPIKA's digital management system, ensuring the traceability, authenticity, and integrity of the actions performed in the Quality Management System (QMS), in accordance with ISO 13485 and Regulation (EU) 2017/745.

Scope

Applies to all personnel involved in documented activities within the SGC through the authorized digital platform.

Responsibilities and Departments Affected

The affected departments are:

| Department | Apply |  |
| --- | --- | --- |
|  | Yeah | No |
| Address | ☒ | ☐ |
| Environment | ☒ | ☐ |
| Quality Assurance | ☒ | ☐ |
| Systems and Cybersecurity | ☒ | ☐ |
| Research and Development | ☒ | ☐ |
| Marketing and Sales | ☒ | ☐ |
| Management | ☒ | ☐ |

Definitions and Acronyms

- Digital signature : Signature electronically linked to a person, with legal validity and verifiable authenticity.

- Digital registry : System that collects, stores and protects staff signature data.

- SGC : SPIKA Quality Management System.

Procedure

The system used by SPIKA allows the user who accesses and performs actions in the environment to be uniquely and unambiguously identified through their electronic signature. If this electronic signature does not include the date on which it was issued, it will be necessary to add it before signing the document.

Use of digital signature

In official SGC documents (procedures, instructions, records, etc.), digital mechanisms must be used that allow:

- Uniquely identify the signer (username and password, biometric signature, digital certificate, etc.).

- Record the date and time.

- Maintain traceability (through logs or document system).

Signatures can be integrated by:

- Digital signature platforms

- Sign with digital certificate

- Internal access control system with traceability

.

Distribution of the Procedure

Staff members in the departments listed in Section 3 (Responsibilities and Affected Departments) must be provided with a copy of this procedure. In addition, controlled copy No. 1 will be submitted to the Archives for paper archiving.

Controlled copies to be issued:

| Controlled Copy No. | Departments |
| --- | --- |
| 1 | Archive |

Annexes

| NO. / REV. | QUALIFICATION |
| --- | --- |
| N/A | N/A |

Related documentation

| Code | QUALIFICATION |
| --- | --- |
| N/A | N/A |

Training

This version requires that the affected departments indicated in section 3 receive the training indicated below:

| Mark with an X | Type of training |
| --- | --- |
| ☒ | Theoretical (reading and understanding of the procedure) |
| ☐ | Theoretical – Practical (If you select this option, contact the Responsible Technician) |