Annex 2_VERSION_05

- CAPA Report

| LAYER REPORT | CODE |
| --- | --- |
|  | AC-006/25 |

| Person opening the action: | Iván Pérez |  |  |  |  |  |  | Department |  |  |  | Quality Assurance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Detection date | 15/07/2025 |  |  |  |  |  |  | Origin |  | Notified Body Audit |  |  |
| Description of the finding | The criteria used for the supplier evaluation are not clearly stated. |  |  |  |  |  |  |  |  |  |  |  |
| Root cause analysis |  |  |  |  |  |  |  |  |  |  |  |  |
| Immediate correction | Record the non-conformity in the quality system and provide traceability of the follow-up. |  |  |  |  |  |  |  |  |  |  |  |
| Corrective/preventive action | Review and update the supplier evaluation procedure to include clearly defined, measurable criteria aligned with MDR requirements for the evaluation and re-evaluation of suppliers. Implement a standardized template to document each supplier evaluation and re-evaluation using the aforementioned criteria. |  |  |  |  |  |  |  |  |  |  |  |
| Verification of the impact of the action on the product |  |  |  |  |  |  | Yes (if you check this box, explain below) |  |  |  | No |  |
|  | Is there an impact on regulatory requirements? |  |  |  |  |  | ☒ |  |  |  | ☐ |  |
|  | Is there an impact on safety and operation? |  |  |  |  |  | ☐ |  |  |  | ☒ |  |
|  | Impact assessment: |  |  |  |  |  | Although there is no immediate impact on the product or patient, the long-term systemic risk requires attention and effective correction. |  |  |  |  |  |
| Responsible for the action | Iván Pérez |  |  |  |  |  |  |  | Department |  |  | Quality Assurance |
| Deadline | 31/10/2025 |  |  |  |  |  |  |  |  |  |  |  |
| To be completed by the person who opens | Signature and date |  |  |  |  |  |  |  |  |  |  |  |
| To be completed by the quality manager: | Signature and date Date: |  |  |  |  |  |  |  |  |  |  |  |
| Evaluation of the effectiveness of the change – To be completed when the change is made |  |  |  |  |  |  |  |  |  |  |  |  |
| Has the change been implemented successfully? |  | ☐ |  | Yes |  |  |  |  |  |  |  |  |
|  |  | ☐ |  | No | Observations |  |  |  |  |  |  |  |
| Effectiveness of change – To be completed when the change is made |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing carried out by: |  |  |  |  |  | Date |  |  |  |  |  |  |